- I am attaching page 285 of the risk assessment document, which indicates the presence of three emergency eyewash showers located in the two refrigeration units and in the waste water treatment plant. In the other departments fist aid kits have been equipped with bottles of eyewash solution.

- A risk assessment has been conducted for legionella control.

- I am attaching the invoice for purchase and installation of the sensor in the refrigeration units. Since they were installed in September 2023, they do not require calibration yet. Their operation is periodically checked by the designated operators.

DOPO AVER CARICATO TUTTO, MANDARE UNA MAIL A NIKOS DICENDO CHE LE AZIONI CORRETTIVE SONO STATE CARICATE SUL SEDEX.